## configured_alarms
ID | TagName | Description | LimitValue | Unit | TimeStamp
1 | TEMP_HIGH | High temperature limit for boiler | 120 | °C | 2026-03-24 12:51
2 | PRESS_LOW | Low pressure limit for compressor | 15 | bar | 2026-03-24 12:51
3 | PUMP_FAIL | Pump failure status monitoring | 1 | bool | 2026-03-24 12:51
4 | VOLT_SPIKE | Voltage spike detection level | 260 | V | 2026-03-24 12:51
5 | NO_COMM | Communication loss threshold | 1 | bool | 2026-03-24 12:51
6 | FILTER_BLOCK | Filter blockage flow threshold | 45 | L/min | 2026-03-24 12:51
7 | HUMID_HIGH | Upper humidity tolerance | 80 | % | 2026-03-24 12:51
8 | MOTOR_OVERLOAD | Motor overload current limit | 30 | A | 2026-03-24 12:51
9 | DOOR_FORCED | Unauthorized access detection | 1 | bool | 2026-03-24 12:51
10 | GAS_LEAK | Gas leak trigger threshold | 50 | ppm | 2026-03-24 12:51