## rew_alarms
ID | AlarmName | Severity | Timestamp | Source | Message
1 | High Temperature | Critical | 2026-03-23 10:15 | Sensor-101 | Temperature exceeded threshold
2 | Low Pressure | Warning | 2026-03-23 10:20 | Sensor-203 | Pressure dropped below minimum
3 | Pump Failure | Critical | 2026-03-23 10:25 | Pump-3 | Pump stopped unexpectedly
4 | Voltage Spike | Major | 2026-03-23 10:30 | Panel-2 | Voltage exceeded safe range
5 | Communication Lost | Critical | 2026-03-23 10:35 | PLC-5 | No communication with device
6 | Filter Blockage | Warning | 2026-03-23 10:40 | Filter-4 | Flow reduced due to blockage
7 | High Humidity | Minor | 2026-03-23 10:45 | Room-7 | Humidity above ideal level
8 | Motor Overload | Major | 2026-03-23 10:50 | Motor-12 | Current draw exceeds rated limit
9 | Unauthorized Access | Critical | 2026-03-23 10:55 | Door-1 | Access attempt outside allowed hours
10 | Gas Leak Detected | Critical | 2026-03-23 11:00 | GasSensor-9 | Gas concentration rising rapidly